

**SCOPE OF WORKS**

Job Reference: 17067 Woodside Farm Toilet Block

Date:18 October 2017

This building block has already been started but needs completing.

The client has a toilet system that needs to be installed

Wall linings to be EcoPly Grooved Lining with a matt polyurethane coating

Floors to be polished concrete (the client prefers a matt finish)

Vanity would like to be a wooden bench with a bowl basin and benchtop basin mixer.

Electrical – whatever was arranged previously including a light over the mirror.